## Subjects
subject | status | qc_verdict | screening_label | headline | rejection_reasons | sex | age | handedness | sessions_analysed | recordings_expected | PASS | FLAG | FAIL | MISSING | usable_recordings | USABLE | USABLE_WITH_FLAGS | USABLE_NEEDS_INTERPOLATION | REJECT | bad_channels (count of recordings) | critical_bad_channels | reason_codes | alpha_ratio_EC_EO_median | line50_db_median | duration_s | started | finished | data_deleted_after_qc | mb_freed | retry_needed | qc_logic_version | folder
sub-028 | COMPLETED | FLAG | USABLE_NEEDS_INTERPOLATION | overall FLAG; USABLE_NEEDS_INTERPOLATION: 8/8 recordings usable; bad channels in 6 recording(s) (F5, F6, F3); alpha blocking OK (median 4.5); notch filter suggested for 4/8 recordings |  | M | 48 | right | ses-1, ses-2 | 8 | 2 | 6 | 0 | 0 | 8 | 0 | 2 | 6 | 0 | F5 x4, F6 x4, F7 x2, F3 x2, F4 x2, Fz x2, AF8 x1, FC2 x1 | Fz | CRITICAL_CHANNEL_BAD; LINE_NOISE; LOW_ALPHA_PROMINENCE; NO_ALPHA_BLOCKING; USABLE_NEEDS_INTERPOLATION | 4.5 | 12.2 | 309.5 | 2026-10-21T17:11:34+03:30 | 2026-10-21T17:16:44+03:30 | yes | 392 | FALSE | screening-2.2 | qc_output/sub-028
sub-053 | COMPLETED | FAIL | PARTIALLY_USABLE | overall FAIL; PARTIALLY_USABLE: 4/8 recordings usable; bad channels in 8 recording(s) (FC1, FC3, F2); alpha blocking OK (median 6.1) |  | F | 42 | right | ses-1, ses-2 | 8 | 1 | 3 | 4 | 0 | 4 | 0 | 0 | 4 | 4 | Fz x4, F2 x4, FC1 x4, FC3 x4, FC2 x4, F1 x3, FC5 x3, C5 x3, FC4 x3, F4 x1, AF4 x1, F3 x1, C3 x1, F8 x1, F6 x1, FC6 x1, T7 x1, T8 x1 | Fz | CRITICAL_CHANNEL_BAD; TOO_MANY_BAD_CHANNELS; USABLE_NEEDS_INTERPOLATION | 6.06 | 4.8 | 173.9 | 2026-10-21T17:16:44+03:30 | 2026-10-21T17:19:38+03:30 | yes | 388 | FALSE | screening-2.2 | qc_output/sub-053

## Recordings
subject | session | task | acq | overall | label | codes | verdict_header | verdict_integrity | verdict_amplitude | verdict_spectral | verdict_consistency | duration_s | n_bad_channels | bad_channels | bad_detail | n_critical_bad | critical_bad_channels | n_uncorrelated | uncorrelated_channels | interpolation_needed | median_spatial_corr | frozen_s | typical_amp_uv | median_kurtosis | alpha_peak_hz | alpha_prom_db | alpha_ratio_EC_EO | alpha_non_responder_possible | line50_db | line100_db | line150_db | notch_suggested | trigger_events | load_error
sub-028 | ses-1 | EyesClosed | pre | FLAG | USABLE_WITH_FLAGS | LOW_ALPHA_PROMINENCE | PASS | PASS | PASS | FLAG | PASS | 192 | 0 |  |  | 0 |  | 0 |  | FALSE | 0.76 | 0.96 | 5.44 | 324.42 | 8 | -0.61 | 4.98 | FALSE | 1.15 | 0 | 0.5 | FALSE | 1
sub-028 | ses-1 | EyesClosed | post | FLAG | USABLE_WITH_FLAGS | LOW_ALPHA_PROMINENCE | PASS | PASS | PASS | FLAG | PASS | 184 | 0 |  |  | 0 |  | 0 |  | FALSE | 0.77 | 0.64 | 5.84 | 323.29 | 8 | -1.25 | 31.99 | FALSE | 0.23 | 0.11 | 0.4 | FALSE | 1
sub-028 | ses-1 | EyesOpen | pre | PASS | USABLE_NEEDS_INTERPOLATION | USABLE_NEEDS_INTERPOLATION | PASS | PASS | PASS | PASS | PASS | 202 | 2 | F5, F6 | F5 (uncorrelated), F6 (uncorrelated) | 0 |  | 2 | F5, F6 | TRUE | 0.75 | 0.4 | 6.74 | 380.86 | 8 | 1.18 | 4.98 | FALSE | 3.67 | 0.55 | 1.75 | FALSE | 1
sub-028 | ses-1 | EyesOpen | post | PASS | USABLE_NEEDS_INTERPOLATION | USABLE_NEEDS_INTERPOLATION | PASS | PASS | PASS | PASS | PASS | 189 | 5 | F7, F3, F4, F5, F6 | F7 (uncorrelated), F3 (uncorrelated), F4 (uncorrelated), F5 (uncorrelated), F6 (uncorrelated) | 0 |  | 5 | F7, F3, F4, F5, F6 | TRUE | 0.79 | 0.92 | 8.07 | 328.49 | 8 | 0.8 | 31.99 | FALSE | 2.1 | 3.76 | 2.87 | FALSE | 1
sub-028 | ses-2 | EyesClosed | pre | FLAG | USABLE_NEEDS_INTERPOLATION | CRITICAL_CHANNEL_BAD; LINE_NOISE; LOW_ALPHA_PROMINENCE; NO_ALPHA_BLOCKING; USABLE_NEEDS_INTERPOLATION | PASS | FLAG | PASS | FLAG | PASS | 185 | 1 | Fz | Fz (uncorrelated) | 1 | Fz | 1 | Fz | TRUE | 0.77 | 0.92 | 6.18 | 320.63 | 8 | 1.01 | 0.17 | TRUE | 24.07 | 12.33 | 20.42 | TRUE | 1
sub-028 | ses-2 | EyesClosed | post | FLAG | USABLE_NEEDS_INTERPOLATION | CRITICAL_CHANNEL_BAD; LINE_NOISE; LOW_ALPHA_PROMINENCE; USABLE_NEEDS_INTERPOLATION | PASS | FLAG | PASS | FLAG | PASS | 184 | 1 | Fz | Fz (uncorrelated) | 1 | Fz | 1 | Fz | TRUE | 0.75 | 0.72 | 6.51 | 315.39 | 8.25 | -0.47 | 4.01 | FALSE | 20.96 | 11.55 | 18.22 | TRUE | 1
sub-028 | ses-2 | EyesOpen | pre | FLAG | USABLE_NEEDS_INTERPOLATION | LINE_NOISE; NO_ALPHA_BLOCKING; USABLE_NEEDS_INTERPOLATION | PASS | PASS | PASS | FLAG | PASS | 184 | 5 | F3, F4, AF8, F5, F6 | F3 (uncorrelated), F4 (uncorrelated), AF8 (uncorrelated), F5 (uncorrelated), F6 (uncorrelated) | 0 |  | 5 | F3, F4, AF8, F5, F6 | TRUE | 0.8 | 0.48 | 7.28 | 336.17 | 8 | -0.97 | 0.17 | FALSE | 20.78 | 10.94 | 18.52 | TRUE | 1
sub-028 | ses-2 | EyesOpen | post | FLAG | USABLE_NEEDS_INTERPOLATION | LINE_NOISE; USABLE_NEEDS_INTERPOLATION | PASS | PASS | PASS | FLAG | PASS | 185 | 4 | F7, FC2, F5, F6 | F7 (uncorrelated), FC2 (uncorrelated), F5 (uncorrelated), F6 (uncorrelated) | 0 |  | 4 | F7, FC2, F5, F6 | TRUE | 0.82 | 0.28 | 8.2 | 416.85 | 8 | 0.35 | 4.01 | FALSE | 23.13 | 12.59 | 19.93 | TRUE | 1
sub-053 | ses-1 | EyesClosed | pre | FLAG | USABLE_NEEDS_INTERPOLATION | CRITICAL_CHANNEL_BAD; USABLE_NEEDS_INTERPOLATION | PASS | FLAG | PASS | PASS | PASS | 186 | 5 | Fz, F4, AF4, F1, F2 | Fz (uncorrelated), F4 (uncorrelated), AF4 (uncorrelated), F1 (uncorrelated), F2 (uncorrelated) | 1 | Fz | 5 | Fz, F4, AF4, F1, F2 | TRUE | 0.66 | 0 | 5.54 | 677.27 | 11.25 | 8.28 | 2.68 | FALSE | 6.49 | 0.79 | 13.34 | FALSE | 1
sub-053 | ses-1 | EyesClosed | post | FAIL | REJECT | CRITICAL_CHANNEL_BAD; TOO_MANY_BAD_CHANNELS | PASS | FAIL | PASS | PASS | PASS | 185 | 9 | F3, Fz, FC5, FC1, C3, F1, F2, FC3, C5 | F3 (uncorrelated), Fz (uncorrelated), FC5 (uncorrelated), FC1 (uncorrelated), C3 (uncorrelated), F1 (uncorrelated), F2 (uncorrelated), FC3 (uncorrelated), C5 (uncorrelated) | 1 | Fz | 9 | F3, Fz, FC5, FC1, C3, F1, F2, FC3, C5 | FALSE | 0.58 | 0.32 | 8.26 | 387.65 | 11.08 | 12.92 | 8.02 | FALSE | 5.47 | 0.27 | 0.66 | FALSE | 1
sub-053 | ses-1 | EyesOpen | pre | FAIL | REJECT | TOO_MANY_BAD_CHANNELS | PASS | FAIL | PASS | PASS | PASS | 186 | 7 | F8, FC5, FC1, FC2, F6, FC3, FC4 | F8 (uncorrelated), FC5 (uncorrelated), FC1 (uncorrelated), FC2 (uncorrelated), F6 (uncorrelated), FC3 (uncorrelated), FC4 (uncorrelated) | 0 |  | 7 | F8, FC5, FC1, FC2, F6, FC3, FC4 | FALSE | 0.84 | 0 | 6.52 | 713.45 | 8 | -0.45 | 2.68 | FALSE | 6.96 | 1.29 | 13.52 | FALSE | 1
sub-053 | ses-1 | EyesOpen | post | FAIL | REJECT | TOO_MANY_BAD_CHANNELS | PASS | FAIL | PASS | PASS | PASS | 187 | 7 | FC5, FC1, FC2, FC6, FC3, FC4, C5 | FC5 (uncorrelated), FC1 (uncorrelated), FC2 (uncorrelated), FC6 (uncorrelated), FC3 (uncorrelated), FC4 (uncorrelated), C5 (uncorrelated) | 0 |  | 7 | FC5, FC1, FC2, FC6, FC3, FC4, C5 | FALSE | 0.69 | 0 | 8.85 | 720.39 | 8 | 2.33 | 8.02 | FALSE | 8.21 | 1.18 | 1.9 | FALSE | 1
sub-053 | ses-2 | EyesClosed | pre | FLAG | USABLE_NEEDS_INTERPOLATION | CRITICAL_CHANNEL_BAD; USABLE_NEEDS_INTERPOLATION | PASS | FLAG | PASS | PASS | PASS | 196 | 3 | Fz, F1, F2 | Fz (uncorrelated), F1 (uncorrelated), F2 (uncorrelated) | 1 | Fz | 3 | Fz, F1, F2 | TRUE | 0.72 | 0.4 | 6.24 | 382.41 | 10.17 | 9.07 | 12.12 | FALSE | 2.18 | 0.85 | 1.12 | FALSE | 1
sub-053 | ses-2 | EyesClosed | post | FLAG | USABLE_NEEDS_INTERPOLATION | CRITICAL_CHANNEL_BAD; USABLE_NEEDS_INTERPOLATION | PASS | FLAG | PASS | PASS | PASS | 183 | 2 | Fz, F2 | Fz (uncorrelated), F2 (uncorrelated) | 1 | Fz | 2 | Fz, F2 | TRUE | 0.73 | 0.72 | 8.28 | 315.36 | 9 | 9.55 | 4.1 | FALSE | 4.19 | 1.47 | 5.8 | FALSE | 1
sub-053 | ses-2 | EyesOpen | pre | PASS | USABLE_NEEDS_INTERPOLATION | USABLE_NEEDS_INTERPOLATION | PASS | PASS | PASS | PASS | PASS | 185 | 1 | FC2 | FC2 (uncorrelated) | 0 |  | 1 | FC2 | TRUE | 0.82 | 0.44 | 5.84 | 348.44 | 8.17 | 1.87 | 12.12 | FALSE | 1.09 | 0.63 | 1.41 | FALSE | 1
sub-053 | ses-2 | EyesOpen | post | FAIL | REJECT | TOO_MANY_BAD_CHANNELS | PASS | FAIL | PASS | PASS | PASS | 184 | 7 | FC1, FC2, T7, T8, FC3, FC4, C5 | FC1 (uncorrelated), FC2 (uncorrelated), T7 (noisy), T8 (noisy), FC3 (uncorrelated), FC4 (uncorrelated), C5 (uncorrelated) | 0 |  | 5 | FC1, FC2, FC3, FC4, C5 | FALSE | 0.68 | 0.24 | 9.33 | 429.47 | 9 | 4.51 | 4.1 | FALSE | 3.68 | 0.73 | 5.45 | FALSE | 1

## Issues
subject | session | task | acq | layer | code | finding | value | limit | verdict
sub-028 | ses-1 | EyesClosed | pre | spectral | LOW_ALPHA_PROMINENCE | alpha_peak_prominence_db | -0.61 | at least 3 dB in Eyes Closed | FLAG
sub-028 | ses-1 | EyesClosed | post | spectral | LOW_ALPHA_PROMINENCE | alpha_peak_prominence_db | -1.252 | at least 3 dB in Eyes Closed | FLAG
sub-028 | ses-2 | EyesClosed | pre | integrity | CRITICAL_CHANNEL_BAD | critical_channel_bad | Fz | none of Cz, Fz, Pz, O1, O2 bad (one can be interpolated) | FLAG
sub-028 | ses-2 | EyesClosed | pre | spectral | LINE_NOISE | line_50Hz_db | 24.075 | at most 20 dB | FLAG
sub-028 | ses-2 | EyesClosed | pre | spectral | LOW_ALPHA_PROMINENCE | alpha_peak_prominence_db | 1.015 | at least 3 dB in Eyes Closed | FLAG
sub-028 | ses-2 | EyesClosed | pre | spectral | NO_ALPHA_BLOCKING | alpha_ratio_EC_EO | 0.172 | at least 1.0 on one channel | FLAG
sub-028 | ses-2 | EyesClosed | post | integrity | CRITICAL_CHANNEL_BAD | critical_channel_bad | Fz | none of Cz, Fz, Pz, O1, O2 bad (one can be interpolated) | FLAG
sub-028 | ses-2 | EyesClosed | post | spectral | LINE_NOISE | line_50Hz_db | 20.959 | at most 20 dB | FLAG
sub-028 | ses-2 | EyesClosed | post | spectral | LOW_ALPHA_PROMINENCE | alpha_peak_prominence_db | -0.47 | at least 3 dB in Eyes Closed | FLAG
sub-028 | ses-2 | EyesOpen | pre | spectral | LINE_NOISE | line_50Hz_db | 20.776 | at most 20 dB | FLAG
sub-028 | ses-2 | EyesOpen | pre | spectral | NO_ALPHA_BLOCKING | alpha_ratio_EC_EO | 0.172 | at least 1.0 on one channel | FLAG
sub-028 | ses-2 | EyesOpen | post | spectral | LINE_NOISE | line_50Hz_db | 23.131 | at most 20 dB | FLAG
sub-028 | ses-1 | EyesOpen | pre | integrity | USABLE_NEEDS_INTERPOLATION | bad_channels_to_interpolate | F5 (uncorrelated), F6 (uncorrelated) | 1-6 bad channels can be interpolated; the recording stays usable | PASS
sub-028 | ses-1 | EyesOpen | post | integrity | USABLE_NEEDS_INTERPOLATION | bad_channels_to_interpolate | F7 (uncorrelated), F3 (uncorrelated), F4 (uncorrelated), F5 (uncorrelated), F6 (uncorrelated) | 1-6 bad channels can be interpolated; the recording stays usable | PASS
sub-028 | ses-2 | EyesClosed | pre | integrity | USABLE_NEEDS_INTERPOLATION | bad_channels_to_interpolate | Fz (uncorrelated) | 1-6 bad channels can be interpolated; the recording stays usable | PASS
sub-028 | ses-2 | EyesClosed | post | integrity | USABLE_NEEDS_INTERPOLATION | bad_channels_to_interpolate | Fz (uncorrelated) | 1-6 bad channels can be interpolated; the recording stays usable | PASS
sub-028 | ses-2 | EyesOpen | pre | integrity | USABLE_NEEDS_INTERPOLATION | bad_channels_to_interpolate | F3 (uncorrelated), F4 (uncorrelated), AF8 (uncorrelated), F5 (uncorrelated), F6 (uncorrelated) | 1-6 bad channels can be interpolated; the recording stays usable | PASS
sub-028 | ses-2 | EyesOpen | post | integrity | USABLE_NEEDS_INTERPOLATION | bad_channels_to_interpolate | F7 (uncorrelated), FC2 (uncorrelated), F5 (uncorrelated), F6 (uncorrelated) | 1-6 bad channels can be interpolated; the recording stays usable | PASS
sub-053 | ses-1 | EyesClosed | post | integrity | TOO_MANY_BAD_CHANNELS | bad_channels_total | 9: F3 (uncorrelated), Fz (uncorrelated), FC5 (uncorrelated), FC1 (uncorrelated), C3 (uncorrelated), F1 (uncorrelated), F2 (uncorrelated), FC3 (uncorrelated), C5 (uncorrelated) | at most 6 (more cannot be interpolated reliably) | FAIL
sub-053 | ses-1 | EyesOpen | pre | integrity | TOO_MANY_BAD_CHANNELS | bad_channels_total | 7: F8 (uncorrelated), FC5 (uncorrelated), FC1 (uncorrelated), FC2 (uncorrelated), F6 (uncorrelated), FC3 (uncorrelated), FC4 (uncorrelated) | at most 6 (more cannot be interpolated reliably) | FAIL
sub-053 | ses-1 | EyesOpen | post | integrity | TOO_MANY_BAD_CHANNELS | bad_channels_total | 7: FC5 (uncorrelated), FC1 (uncorrelated), FC2 (uncorrelated), FC6 (uncorrelated), FC3 (uncorrelated), FC4 (uncorrelated), C5 (uncorrelated) | at most 6 (more cannot be interpolated reliably) | FAIL
sub-053 | ses-2 | EyesOpen | post | integrity | TOO_MANY_BAD_CHANNELS | bad_channels_total | 7: FC1 (uncorrelated), FC2 (uncorrelated), T7 (noisy), T8 (noisy), FC3 (uncorrelated), FC4 (uncorrelated), C5 (uncorrelated) | at most 6 (more cannot be interpolated reliably) | FAIL
sub-053 | ses-1 | EyesClosed | pre | integrity | CRITICAL_CHANNEL_BAD | critical_channel_bad | Fz | none of Cz, Fz, Pz, O1, O2 bad (one can be interpolated) | FLAG
sub-053 | ses-1 | EyesClosed | post | integrity | CRITICAL_CHANNEL_BAD | critical_channel_bad | Fz | none of Cz, Fz, Pz, O1, O2 bad (one can be interpolated) | FLAG
sub-053 | ses-2 | EyesClosed | pre | integrity | CRITICAL_CHANNEL_BAD | critical_channel_bad | Fz | none of Cz, Fz, Pz, O1, O2 bad (one can be interpolated) | FLAG
sub-053 | ses-2 | EyesClosed | post | integrity | CRITICAL_CHANNEL_BAD | critical_channel_bad | Fz | none of Cz, Fz, Pz, O1, O2 bad (one can be interpolated) | FLAG
sub-053 | ses-1 | EyesClosed | pre | integrity | USABLE_NEEDS_INTERPOLATION | bad_channels_to_interpolate | Fz (uncorrelated), F4 (uncorrelated), AF4 (uncorrelated), F1 (uncorrelated), F2 (uncorrelated) | 1-6 bad channels can be interpolated; the recording stays usable | PASS
sub-053 | ses-2 | EyesClosed | pre | integrity | USABLE_NEEDS_INTERPOLATION | bad_channels_to_interpolate | Fz (uncorrelated), F1 (uncorrelated), F2 (uncorrelated) | 1-6 bad channels can be interpolated; the recording stays usable | PASS
sub-053 | ses-2 | EyesClosed | post | integrity | USABLE_NEEDS_INTERPOLATION | bad_channels_to_interpolate | Fz (uncorrelated), F2 (uncorrelated) | 1-6 bad channels can be interpolated; the recording stays usable | PASS
sub-053 | ses-2 | EyesOpen | pre | integrity | USABLE_NEEDS_INTERPOLATION | bad_channels_to_interpolate | FC2 (uncorrelated) | 1-6 bad channels can be interpolated; the recording stays usable | PASS

## Legend
item | meaning
About | Overview of all subjects found in the results folder. QC logic screening-2.2 (fingerprint 40d2ea6566ac1ac5), written 2026-10-21T17:19:38+03:30
Sheets | Subjects = one row per subject ¦ Recordings = one row per recording ¦ Issues = every FAIL / FLAG / MISSING finding and PASS note
status | COMPLETED = analysed ¦ REJECTED = age / late triggers, nothing downloaded ¦ NO_DATA = no recording could be analysed ¦ ERROR = unexpected problem (data kept) ¦ INTERRUPTED = stopped with Ctrl+C
verdict | PASS = nothing to note ¦ FLAG = small problem, kept ¦ FAIL = clear problem ¦ MISSING = file not available
label (recording) | USABLE ¦ USABLE_WITH_FLAGS ¦ USABLE_NEEDS_INTERPOLATION (1-6 bad channels, at most one critical) ¦ REJECT (= FAIL)
label (subject) | worst label of its recordings, or PARTIALLY_USABLE when some recordings are usable and others rejected
codes | CRITICAL_CHANNELS_BAD / TOO_MANY_BAD_CHANNELS / DEAD_SPECTRUM / LINE_NOISE_SATURATION = FAIL ¦ HIGH_LINE_NOISE, LINE_NOISE, LOW_ALPHA_PROMINENCE, WEAK_ALPHA_BLOCKING, NO_ALPHA_BLOCKING, CRITICAL_CHANNEL_BAD, LOW_GLOBAL_SPATIAL_CORRELATION, FROZEN_SEGMENT = FLAG ¦ USABLE_NEEDS_INTERPOLATION = PASS note
critical channels | Cz, Fz, Pz, O1, O2 (2 or more bad = FAIL; more than 6 bad channels = FAIL)
spatial correlation | ¦r¦ with the median of all channels below 0.2 (0.18 for O1, O2, Oz) = uncorrelated / noisy channel
baseline correction | highpass 0.5 Hz, in memory only, before the voltage statistics
line noise | > 20 dB = FLAG, > 30 dB = FLAG HIGH_LINE_NOISE (FAIL only with clipping of 50% of the channels)